ROM-IQ

Smart Rehabilitation Monitoring System for Elbow Range of Motion Tracking

Project Charter v1

1. Project Background

Musculoskeletal injuries affecting the elbow are common and often require physical therapy exercises to restore strength, mobility, and range of motion. Rehabilitation programs frequently rely on patients performing prescribed exercises independently between clinic visits.

A challenge faced by both patients and therapists is the lack of objective data regarding exercise performance outside the clinical setting. Progress is often assessed through self-reporting or periodic evaluations, which may not accurately reflect rehabilitation adherence or recovery trends.

This project aims to develop a proof-of-concept rehabilitation monitoring system capable of measuring elbow range of motion and exercise repetitions using inertial sensing technology. The system will demonstrate how objective rehabilitation data can be collected and analyzed to support patient recovery monitoring.

2. Problem Statement

Physical therapy patients performing elbow rehabilitation exercises at home often lack objective feedback regarding their recovery progress. Similarly, physical therapists have limited visibility into patient exercise performance between clinic visits. This lack of quantitative information can make it difficult to assess rehabilitation progress, monitor exercise adherence, and evaluate improvements in elbow range of motion over time.

3. Project Goal

Develop a prototype rehabilitation monitoring system capable of measuring elbow range of motion and tracking rehabilitation exercise repetitions using an MPU6050 inertial measurement sensor.

The system will provide objective rehabilitation metrics that can assist patients in monitoring exercise performance and demonstrate how quantitative data may support therapist evaluation of recovery progress.

4. Project Scope

In Scope

- Measurement of elbow range of motion (ROM)

- Tracking elbow flexion and extension movements

- Counting rehabilitation exercise repetitions

- Displaying rehabilitation metrics

- Collecting session-level exercise data

- Verification testing against known reference angles

- Development of engineering documentation

- Basic risk analysis using FMEA methodology

- Creation of a project portfolio and GitHub repository

Out of Scope

- Clinical diagnosis

- Medical treatment recommendations

- Wireless communication

- Smartphone application development

- Electronic medical record integration

- FDA submission activities

- Human clinical trials

- Commercial manufacturing

5. Stakeholders

Primary User

Physical therapy patients performing elbow rehabilitation exercises at home.

Secondary User

Physical therapists reviewing rehabilitation performance and recovery progress.

Project Developer

AK Gupte

Future Stakeholders

- Rehabilitation clinics

- Healthcare providers

- Medical device manufacturers

- Biomedical engineers developing rehabilitation technologies

6. Success Criteria

The project will be considered successful if:

- The MPU6050 sensor successfully communicates with the microcontroller.

- The system measures elbow range of motion throughout a target movement range of approximately 0° to 135°.

- Real-time angle measurements are displayed to the user.

- The system accurately counts rehabilitation exercise repetitions.

- Session metrics including maximum angle, minimum angle, and total repetitions are recorded.

- Verification testing demonstrates measurement error within ±5° of reference angles.

- A complete design-control documentation package is produced, including:

  - Project Charter

  - User Needs

  - Design Inputs

  - Verification Testing

  - FMEA

  - Traceability Matrix

  - Final Project Report

- The project is documented through GitHub and a professional engineering portfolio.

7. Constraints

- Project duration limited to four weeks.

- Development performed approximately 1-2 hours per day.

- Budget limited to readily available student resources.

- MPU6050 sensor used as the primary sensing device.

- Prototype developed for educational and portfolio purposes.

- Testing conducted in a non-clinical environment.

- No access to human subject studies or clinical validation.

8. Assumptions

- The sensor remains securely attached to the user's forearm during exercises.

- The user performs elbow movements in a controlled environment.

- Elbow motion occurs primarily within a single plane of movement.

- Sensor calibration remains stable throughout a rehabilitation session.

- Users perform exercises according to prescribed rehabilitation instructions.

- Sensor data is sufficient to estimate elbow joint angle for proof-of-concept purposes.

9. Deliverables

Technical Deliverables

- Functional rehabilitation monitoring prototype

- Arduino source code

- Angle measurement algorithm

- Repetition counting functionality

- Verification testing results

Documentation Deliverables

- Project Charter

- User Needs Document

- Design Inputs Document

- Verification Report

- FMEA

- Traceability Matrix

- Final Project Report

Portfolio Deliverables

- GitHub repository

- Engineering portfolio PDF

- Project photographs

- Demonstration video

- LinkedIn project series

10. Project Timeline

Week 1

- Define requirements

- Establish documentation structure

- Connect MPU6050 sensor

- Verify sensor communication

Week 2

- Develop range of motion measurement capability

- Perform initial verification testing

- Document measurement results

Week 3

- Implement repetition counting

- Track rehabilitation sessions

- Collect exercise data

- Generate performance graphs

Week 4

- Conduct risk analysis

- Complete verification activities

- Finalize documentation

- Publish GitHub repository

- Prepare portfolio materials

- Record final demonstration

11. Project Completion Statement

Upon completion, this project will demonstrate the application of medical device design controls, requirements development, verification testing, risk analysis, traceability, and engineering documentation within the development of a rehabilitation monitoring prototype intended for educational and portfolio purposes.