ROM-IQ

User Needs Document

Document Information

Document Title: User Needs Document

Project: ROM-IQ - Intelligent Range of Motion Monitoring System for Elbow Rehabilitation

Author: AK Gupte

Version: 1.0

Date: June 2026

1. Purpose

The purpose of this document is to define the needs of the intended users of ROM-IQ. These user needs serve as the foundation for subsequent design inputs, verification activities, and project development decisions.

2. Intended Users

Primary User

Physical therapy patients performing elbow rehabilitation exercises outside of a clinical setting.

Secondary User

Physical therapists monitoring rehabilitation progress and exercise performance.

3. Intended Use Environment

ROM-IQ is intended for use in non-clinical environments such as homes, rehabilitation centers, and educational demonstration settings.

4. User Needs

Patient Needs

| ID | User Need |
| --- | --- |
| UN-01 | The user needs a way to objectively measure elbow range of motion during rehabilitation exercises. |
| UN-02 | The user needs feedback regarding their rehabilitation performance. |
| UN-03 | The user needs a method to track exercise repetitions during a rehabilitation session. |
| UN-04 | The user needs a rehabilitation monitoring system that can be used independently in a home environment. |
| UN-05 | The user needs a method to monitor rehabilitation progress over time. |
| UN-06 | The user needs rehabilitation information that is easy to understand. |
| UN-07 | The user needs a rehabilitation monitoring system that supports natural arm movement during rehabilitation exercises. |

Therapist Needs

| ID | User Need |
| --- | --- |
| UN-08 | The therapist needs access to objective rehabilitation performance data. |
| UN-09 | The therapist needs a method to evaluate changes in patient range of motion over time. |
| UN-10 | The therapist needs a method to assess exercise adherence between clinic visits. |

Reliability and Performance Needs

| ID | User Need |
| --- | --- |
| UN-11 | The user needs consistent and repeatable rehabilitation measurements. |
| UN-12 | The user needs rehabilitation measurements that accurately represent exercise performance. |
| UN-13 | The user needs access to rehabilitation measurements during an exercise session. |

5. Approval

This document establishes the user needs that will be translated into measurable design inputs during subsequent phases of ROM-IQ development.